## Standard Cover Sheet
Builder | Project Building and Carpentry | Date | 2024-11-07
Contact | Bryce Clarke
Email | bryce@project-bc.com
Project | 19 Burradoo Road, Bowral
Constrution Costs
Total Construction Build Cost (including Builders Margin & GST) |  |  | 492173.5337
Estimating Snapshot Costs ( Excl Margin & GST )
· Earthworks |  |  | 15304.6233
· Civilworks |  |  | 12326.8344
· Concrete |  |  | 39150.5875
· Timber Supply |  |  | 23641.0064
· Structural Steel |  |  | 32530.1609
· Windows |  |  | 17820.1
· Carpenter |  |  | 13381.5831
· Plumber |  |  | 7957.8035
· Electrical |  |  | 2752.5138
Estimating Snapshot Quantities
· Building Area |  |  | 125.73 | m2
· Concrete Slab Area |  |  | 99.693 | m2
· Concrete Footings |  |  | 119.8 | lm
· Structural Beams |  |  | 63.928 | lm
· External Wall Perimeter |  |  | 52.48 | lm
· Internal Wall |  |  | 9.44 | lm
· Window Glazing |  |  | 55.86 | m2
· Roof Area |  |  | 175.989 | m2
· Wall Plasterboard |  |  | 214.08 | m2
· Ceiling Plasterboard |  |  | 163.284 | m2
· External Doors |  |  | 2 | each
· Internal Doors |  |  | 1 | each
· Tiling Area |  |  | 60.5 | m2
· Floor Covering Area |  |  | 93.5 | m2
· Estimators Notes
· This is not the full breakdown for the estimation, please see the Standard Estimating tab for a full
· and comprehensive breakdown for the project.
·
·
·
·
·
·
·
·
·

## Content
This Construction Estimation is broken downs into Cost Centres including sub-cost centres as below:
Preliminaries
Project Build
Site Preporation
Earthworks
Site preporation
Sloping Site
Hire Equipment
Stormwater Disposal
Stormwater - Supply
Stormwater - Labour
Demolition
Internal Demolition
External
Hire Equipment
Concrete Slab
Concrete (Ground) - Supply
Concrete - Supply
Concrete Piers - Supply
Concrete (Ground) - Labour
Concrete Labour
Concrete Pier - Labour
Suspended Concrete Supply
Concrete & Reinforcement
Suspended Concrete Labour
Concrete, Reinforcement & Formork
Concrete Pump
Concrete Pumping
Suspended Timber Framed Flooring
Ground Floor Timbers Supply
Upper Floor Timbers - Supply
Structural Beams Slab - Supply
Structural Beams Slab - Labour
Welders
Staircases
Stair Case
Timber Staircases - Supply
Timber Staircase - Labour
External Steel Staircase - Supply
External Steel Staircase - Labour
Balustrade & Handrail
Balustrade & Handrail - Supply
Balustrade - Labour
Structural Walls
Internal Structural Walls
Stud Framed Walls - Supply
Internal Wall - Brick Wall - Int - Supply
Single Leaf Concrete Blocks - Ext - Supply
Weather Board Wall Stucture - Ext - Supply
Single Leaf Face Brick Wall - Ext - Supply
Polywall Render - Ext - Supply
Dincel Concrete Blockwork (excl Core Concrete) - Supply
Cavity Brickwork - Ext - Supply
Bricklayer
Internal Wall - Brick Wall - Int - Labour
Single Leaf Concrete Blocks - Ext - Labour
Single Leaf Face Brick Wall - Ext - Labour
Dincel Concrete Blockwork (excl Core Concrete) - Labour
Cavity Brickwork - Ext - Labour
Windows & Glazing
Framing & Glazing
Entry Glazing Doors
Accessories
Site Management
Roofing & Scaffolding
Roofing
Roof Cover - Supply
Safety Rail
Roof Cover - Labour
Skylights
Scaffold
Scaffold - Supply
Roof Framing - Supply
Structural Beams Roof - Supply
Beams - Labour
Welders
Carpentry
Ground Floor Timbers Labour
Upper Floor Timbers - Labour
Stud Framed Walls - Labour
Weather Board Wall Stucture - Ext - Labour
Polywall Render - Ext - Labour
Roof Carpenter - Labour
Fixing Carpenter Labour
Doors Labour
Hardware - Labour
Plasterer
Plasterboard Walls
Plasterboard Walls - Supply
Plasterboard Walls - Labour
Plasterboard Ceilings
Plasterboard Ceiling Supply
Plasterboard Ceiling Labour
Fixings
Doors & Door Handles
Select External Doors
Select Internal Doors
Select Doors Handles
Door Frames
External Hardware
Internal Doors & Sets
Hardware Items
Hardware Items
Plumber
Site Connections
Sanitary Fixing Install
Rectify Established Structures
Plumbing Fixtures
Fixtures
Wet Room
Wet Room - Fixings
Laundry & Kitchen
Tapware
Mixers
Other
Appliances
Standard Inclusions
Premium Inclusions
HWS
Electrical
Electrical Standard Allowances
Power Points & Data
Power Points & Data - Supply
Power Points & Data - Labour
Lighting - Supply
Lighting - Labour
Other Items
Material - Supply
Material - Labour
Supply & Install Misc Items
Other Items
Tiling
Wall Tiling
Floor Tiling
Wet Area Tiling - Labour
Waterproofing
Cabinets
Cabinet Works
Kitchen Accessories
Site allowances
Bench Tops
Splashbacks
Robes
Floor Coverings
Polished Concrete
Carpets
Internal Timber Flooring
Main Floor Tiling
Main Floor Tiling - Supply
Main Floor Tiling - Labour
Painting
New Home Works Painting
Internal
External Walls
External Items
Hire Equipment
Rectify Established Structures
External Items
Garage Door
Front Garage Door
Rear Roller Door
Supply & Install Decking
Supply Material
Labour Material
Supply & Install Paving
Supply Material
Labour Material
Landscaping
Extenal Concrete
External Walls
Screen Wall
Retaining Walls / Planterbox
Stone Cladding
Stone Cladding
Concrete Pools
Misc Items
Air-Conditioning & Heating
Ducted Reverse System Systems
Wall Mounted Split systems
Under Floor Heating
Internal item
Other Items Internal
House Cleaning
Fixtures
Appliances
Wet Area Tiling
Supervisions & Contingency
Supervision
Material Handling
Contingency

## Standard Estimating
2
|  | Builder | Project Building and Carpentry
|  | Contact | Bryce Clarke
|  | Email | bryce@project-bc.com
|  | Project | 19 Burradoo Road, Bowral
Preliminaries |  |  |  | 125.73 | Quantity | Unit | Supply Rate | Lbr Rate | T/Rate | Total | Sub-totals |  | Preliminaries | 1 | 7659.4177 | 351 | 8010.4177 | 1602.0835 | 9612.5013 | Preliminaries | 7659.4177
| Project Build | [9 empty] | 4455.3324
|  | Project Build Site Preliminaries up to 140m2 |  |  | 125.73 | m2 | 35.4357 |  | 35.4357 | 4455.3324
| Building Fees & Insurances | [5 empty] | 0
|  | Building Permit - New single storey or Extension to existing dwellings including 4 inspections |  |  |  |  | 0
|  | Water App Fees |  |  |  |  | 0
|  | Domestic Building Insurance |  |  |  |  | 0
|  | Existing Structure Insurance - $0.15% of existing structure value |  |  |  |  | 0
|  | Contract Works and Public Liability Insurance - 0.33% of Contract value |  |  |  |  | 0
|  | Asset protection bond (council) excluded from Contract works |  |  |  |  | 0
|  | Asset protection permit excluded from Contract works |  |  |  |  | 0
|  | Parking area fees |  |  |  |  | 0
|  | Site Signs |  |  |  |  | 0
0
| Construction Fees | [5 empty] | 0
|  | Commission to agent |  |  |  |  | 0
|  | Engineer Inspection Fees |  |  |  |  | 0
|  | Energy Efficiency |  |  |  |  | 0
|  | Compaction certificate |  |  |  |  | 0
0
| Site Preparation | [9 empty] | 3204.0854
|  | Project Site Preparation up to 240m2 |  |  | 125.73 | m2 | 25.4839 |  | 25.4839 | 3204.0854
| Surveryors | [5 empty] | 0
|  | Surveyor to site |  |  |  |  | 0
0
| Site Hire Equipment | [5 empty] | 0
|  | Site Shed |  |  |  |  | 0
|  | Shed Delivery & Pickup |  |  |  |  | 0
|  | Toilet hire |  |  |  |  | 0
|  | Toilet clean |  |  |  |  | 0
|  | Toilet Delivery & Pickup |  |  |  |  | 0
|  | Tarpaulin 3.5 x 6.2 |  |  |  |  | 0
0
| Termites Treatment | [5 empty] | 0
|  | White ant Treatment Part & B |  |  |  |  | 0
0
| General Labour Allowances | [5 empty] | 0
|  | Rubbish Bins (10m3) |  |  |  |  | 0
|  | General Labour |  |  |  |  | 0
|  | Temporary Fencing |  |  |  |  | 0
|  | Shadecloth - 50m roll |  |  |  |  | 0
Earthworks |  |  |  | 2 | Quantity | Unit | Supply Rate | Lbr Rate | T/Rate | Total | Comments |  | Earthworks | 0 | 15304.6233 | 701 | 16005.6233 | 3201.1247 | 19206.748 | Earthworks | 15304.6233
| Earthworks - Supply & Labour | [9 empty] | 15304.6233
Site preparation
|  | Standard Cut and Fill Area |  |  | 99.693 | m2 | 5.88 |  | 5.88 | 586.1948
|  | Footings excavation |  |  | 119.845 | lm | 20.6388 |  | 20.6388 | 2473.457
|  | Stormwater pipe excavation |  |  | 72.435 | lm | 20.6388 |  | 20.6388 | 1494.9715
|  | Pier excavation |  |  | 24 | each | 300 |  | 300 | 7200
Other Items
|  | Hard Digging |  |  | 1 | allow | 850 |  | 850 | 850
|  | Cut site & Fill Site |  |  | 1 | allow | 1500 |  | 1500 | 1500
|  | Removal Sand & Debris from Site |  |  | 1 | allow | 1200 |  | 1200 | 1200
Stormwater Disposal |  |  |  |  | Quantity | Unit | Supply Rate | Lbr Rate | T/Rate | Total | Sub-totals |  | Stormwater Disposal | 0 | 12326.8344 | 565 | 12891.8344 | 2578.3669 | 15470.2013 | Stormwater Disposal | 12326.8344
| Stormwater - Supply | [9 empty] | 9087.558
| Stormwater - Supply | [10 empty] | Soakwell Supply
|  | Pipework |  |  | 72.435 | lm | 6.8 |  | 6.8 | 492.558
Rainwater Tanks - Supply
|  | Above Ground Water Holding Tank incl Water Pump - up to 50,000L |  |  | 1 | each | 8595 |  | 8595 | 8595
| Stormwater - Labour | [9 empty] | 3239.2764
| Stormwater - Labour | [10 empty] | Soakwell Supply
|  | Pipework |  |  | 72.435 | lm |  | 3.9936 | 3.9936 | 289.2764
Above Ground Water Tanks - Labour
|  | Above Ground Water Holding Tank incl Water Pump - up to 50,000L |  |  | 1 | each |  | 2950 | 2950 | 2950
Demolition |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Demolition | 0 | 0 | 0 | 0 | 0 | 0 | Demolition | 0
Concrete Slab |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Concrete Slab | 0 | 39150.5875 | 1793 | 40943.5875 | 8188.7175 | 49132.305
| Concrete (Ground) - Supply | [9 empty] | 23771.6023 | [8 empty] | Concrete (Ground) - Supply | 23771.6023
Concrete Slab on Ground - Supply
|  | Concrete - Footing including Reinforcement |  |  | 119.845 | m | 92.84 |  | 92.84 | 11126.4098
|  | Concrete - Ground on slab including Reinforcement |  |  | 99.693 | m2 | 38.07 |  | 38.07 | 3795.3125
Concrete Piers - Supply
|  | Concrete - Concrete Pier |  |  | 36 | m | 70.75 |  | 70.75 | 2547
|  | Reinforced cage - for Concrete Pier |  |  | 36 | m | 73.58 |  | 73.58 | 2648.88
Concrete Other - Supply
|  | Add Concrete |  |  | 12.6 | m3 | 290 |  | 290 | 3654
| Concrete (Ground) - Labour | [9 empty] | 13788.9852 | [8 empty] | Concrete (Ground) - Labour | 13788.9852
Concrete Labour
|  | Concrete - Footing including Reinforcement |  |  | 119.845 | m |  | 51.4892 | 51.4892 | 6170.7232
|  | Concrete - Ground on slab including Reinforcement |  |  | 99.693 | m2 |  | 23.9841 | 23.9841 | 2391.0469
Concrete Pier - Labour
|  | Concrete - Concrete Pier |  |  | 36 | m |  | 35.3014 | 35.3014 | 1270.8511
|  | Reinforced cage - for Concrete Pier |  |  | 36 | m |  | 66.24 | 66.24 | 2384.64
Concrete Other - Labour
|  | Add Concrete |  |  | 12.6 | m3 |  | 124.74 | 124.74 | 1571.724
| Concrete Pump | [9 empty] | 1590 | [8 empty] | Concrete Pump | 1590
Concrete Pumping
|  | Concrete pump - per pour onsite - Ground Works |  |  | 1 | Job | 1590 |  | 1590 | 1590
Timber Supply |  |  |  | 2 | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Timber Supply | 0 | 23641.0064 | 1083 | 24724.0064 | 4944.8013 | 29668.8077
| Stud Framed Walls - Supply | [9 empty] | 9218.7371 | [8 empty] | Stud Framed Walls - Supply | 9218.7371
Frame out - Supply
|  | Stud Walls |  |  | 167.184 | m2 | 54.495 |  | 54.495 | 9110.6921
Timber Beams & Timber Columns - Supply
|  | LVLs to Windows & Doors |  |  | 2.8 | lm | 38.5875 |  | 38.5875 | 108.045
| Roof Framing - Supply | [9 empty] | 14422.2693 | [8 empty] | Roof Framing - Supply | 14422.2693
Frame out - Supply
|  | Roof take off |  |  | 175.989 | m2 | 2.73 |  | 2.73 | 480.45
|  | Truss roof timbers |  |  | 175.989 | m2 | 56.02 |  | 56.02 | 9858.9038
Timber Beams - Supply
|  | Structural LVL Beam |  |  | 65.615 | lm | 55.125 |  | 55.125 | 3617.0269
|  | Supporting LVL Beam |  |  | 31.56 | lm | 14.762 |  | 14.762 | 465.8887
Structural Steel |  |  |  | 2 | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Structural Steel | 0 | 32530.1609 | 1490 | 34020.1609 | 6804.0322 | 40824.1931
| Structural Beams Roof - Supply | [9 empty] | 16154.2636 | [8 empty] | Structural Beams Roof - Supply | 16154.2636
Steel Beams - Supply
|  | PFC Beam - Galv |  |  | 15.29 | lm | 173.8 |  | 173.8 | 2657.402
|  | Universal Beams - Galv |  |  | 14.278 | lm | 217.2 |  | 217.2 | 3101.1816
Steel Columns & Other - Supply
|  | Portal Frame Fabrication |  |  | 5 | each | 988 |  | 988 | 4940
|  | Steel Columns SHS |  |  | 12 | each | 398.9 |  | 398.9 | 4786.8
|  | Splays, Notches |  |  | 12 | each | 25.74 |  | 25.74 | 308.88
|  | Site Transport |  |  | 1 | trips | 360 |  | 360 | 360
| Structral Beam Roof - Labour | [9 empty] | 16375.8973 | [8 empty] | Structral Beam Roof - Labour | 16375.8973
Steel Beams - Labour
|  | PFC Beam - Galv |  |  | 15.29 | lm |  | 73.71 | 73.71 | 1127.0259
|  | Universal Beams - Galv |  |  | 14.278 | lm |  | 73.71 | 73.71 | 1052.4314
Steel Columns & Other - Labour
|  | Portal Frame Handling |  |  | 5 | each |  | 650 | 650 | 3250
|  | Steel Columns SHS |  |  | 12 | each |  | 271.99 | 271.99 | 3263.88
|  | Splays, Notches |  |  | 12 | each |  | 98.28 | 98.28 | 1179.36
|  | Crane Hire |  |  | 16 | hr |  | 220 | 220 | 3520
Welders
|  | Hire - Welder ARC - 580 AMP DC - Deisel |  |  | 4 | day |  | 149 | 149 | 596
|  | Site Welding Allowance |  |  | 32 | hr |  | 74.6 | 74.6 | 2387.2
Staircases & Balustrade |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Staircases & Balustrade | 0 | 0 | 0 | 0 | 0 | 0
Structural Walls |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Structural Walls | 0 | 10756.8394 | 493 | 11249.8394 | 2249.9679 | 13499.8072
| Single Leaf Concrete Blocks - Ext - Supply | [9 empty] | 9263.0704 | [8 empty] | Single Leaf Concrete Blocks - Ext - Supply | 9263.0704
|  | 3.0m high block wall excluding render |  |  | 52.48 | m | 176.5067 |  | 176.5067 | 9263.0704
| Cavity Brickwork - Ext - Supply | [9 empty] | 1493.7689 | [8 empty] | Cavity Brickwork - Ext - Supply | 1493.7689
|  | m2 high Cavity Brick wall excluding render & linings |  |  | 10.758 | m2 | 138.8519 |  | 138.8519 | 1493.7689
Bricklayer |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Bricklayer | 0 | 9744.1542 | 447 | 10191.1542 | 2038.2308 | 12229.385
| Single Leaf Concrete Blocks - Ext - Labour | [9 empty] | 8572.608 | [8 empty] | Single Leaf Concrete Blocks - Ext - Labour | 8572.608
|  | 3.0m high block wall excluding render |  |  | 52.48 | m |  | 163.35 | 163.35 | 8572.608
| Cavity Brickwork - Ext - Labour | [9 empty] | 1171.5462 | [8 empty] | Cavity Brickwork - Ext - Labour | 1171.5462
|  | m2 high Cavity Brick wall excluding render & linings |  |  | 10.758 | m2 |  | 108.9 | 108.9 | 1171.5462
Windows & Glazing |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Windows & Glazing | 0 | 17820.1 | 816 | 18636.1 | 3727.22 | 22363.32 | Windows & Glazing | 17820.1 | 319.0136
| Windows | [9 empty] | 17820.1 | [8 empty] | Windows | 17820.1
Framing & Glazing
|  | Construction material - clear glazed glass and standard frame |  |  | 55.86 | m2 | 227 |  | 227 | 12680.22
|  | Provide Flyscreen to windows |  |  | 55.86 | m2 | 8 |  | 8 | 446.88
|  | Provide double glazed glazing |  | 55.9 | 0 | m2 | 218 |  | 218 | 0
Window Accessories
|  | Awning Windows |  |  | 19 | each | 247 |  | 247 | 4693
Roofing & Scaffolding |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Roofing & Scaffolding | 0 | 36490.2394 | 1671 | 38161.2394 | 7632.2479 | 45793.4873 |  |  | #REF!
| Roofing : Supply & Install | [9 empty] | 15901.864 | [8 empty] | Roof Cover | 15901.864
Roof Cover - Supply
|  | Roof Cover including Anticon |  |  | 175.989 | m2 | 38.9 |  | 38.9 | 6845.9721
Roof Cover - Labour
|  | Roof Cover incl anticon |  |  | 175.989 | m2 |  | 33.915 | 33.915 | 5968.6669
|  | Rubbish Bins ( 9m3 ) |  |  | 1 | item |  | 1350 | 1350 | 1350
Safety Rail
|  | Min fee for temporary hand rails |  |  | 1 | Job | 206.85 |  | 206.85 | 206.85
|  | Temporary hand rails |  |  | 26.5 | lm | 57.75 |  | 57.75 | 1530.375
| Roof Plumbing | [9 empty] | 6728.3753
Roof Plumbing - Supply
|  | Gutter & Fascia |  |  | 63.547 | lm | 45.045 |  | 45.045 | 2862.4746
|  | Downpipes |  |  | 10 | each | 168.21 |  | 168.21 | 1682.1
|  | Flashing |  |  | 1 | each | 997.5 |  | 997.5 | 997.5
Roof Plumbing - Labour
|  | Gutter & Fascia |  |  | 63.547 | lm |  | 8.5925 | 8.5925 | 546.0263
|  | Downpipes |  |  | 10 | each |  | 25.7774 | 25.7774 | 257.7744
|  | Flashing |  |  | 1 | allow |  | 382.5 | 382.5 | 382.5
| Skylights | [9 empty] | 13860
|  | Supply & Install fixed skylight |  |  | 10 | each | 1386 |  | 1386 | 13860
Plasterer |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Plasterer | 0 | 17401.2345 | 797 | 18198.2345 | 3639.6469 | 21837.8814
| Plasterboard Walls | [9 empty] | 7495.2794 | [8 empty] | Plasterboard Walls | 7495.2794
Wall Treatment - Supply
|  | Plasterboard to Walls |  |  | 214.08 | m2 | 8.19 |  | 8.19 | 1753.3152
|  | Moisture Resistant Wall to Wet Areas |  |  | 214.08 | m2 | 2.205 |  | 2.205 | 472.0464
|  | Float and Set to Masonary |  |  | 10.75 | m2 | 5.9 |  | 5.9 | 63.425
|  | Delivery Fee |  |  | 1 | each | 150 |  | 150 | 150
Insulation - Supply
|  | Insulation to Internal Walls |  |  | 25.488 | m2 | 6.27 |  | 6.27 | 159.8098
|  | Insulation to External Walls |  |  | 141.696 | m2 | 9.3 |  | 9.3 | 1317.7728
|  | Delivery Fee |  |  | 1 | each | 150 |  | 150 | 150
Wall Treatment - Labour
|  | Plasterboard to Walls |  |  | 214.08 | m2 |  | 9.84 | 9.84 | 2106.5472
|  | Moisture Resistant Wall to Wet Areas |  |  | 214.08 | m2 |  | 1.04 | 1.04 | 222.6432
|  | Float and Set to Masonary |  |  | 10.75 | m2 |  | 12.72 | 12.72 | 136.74
Insulation - Labour
|  | Insulation to Walls |  |  | 167.184 | m2 |  | 5.76 | 5.76 | 962.9798
| Plasterboard Ceilings | [9 empty] | 9905.9551 | [8 empty] | Plasterboard Ceilings | 9905.9551
Plasterboard Ceiling Supply
|  | Gyrpock Ceilings |  |  | 163.284 | m2 | 8.19 |  | 8.19 | 1337.296
|  | Moisture Resistant Ceilings |  |  | 163.284 | m2 | 2.205 |  | 2.205 | 360.0412
Insulation - Supply
|  | Ceiling insulation |  |  | 126.522 | m2 | 15.96 |  | 15.96 | 2019.2911
Additional items
|  | Additional Charge - Raking Ceiling |  |  | 107.91 | m2 | 8.9 |  | 8.9 | 960.399
Plasterboard Ceiling Labour
|  | Gyrpock Ceilings |  |  | 163.284 | m2 |  | 9.84 | 9.84 | 1606.7146
|  | Ceiling insulation |  |  | 126.522 | m2 |  | 5.76 | 5.76 | 728.7667
|  | Moisture Resistant Ceilings |  |  | 163.284 | m2 |  | 1.04 | 1.04 | 169.8154
|  | Additional Charge - Raking Ceiling |  |  | 107.91 | m2 |  | 10.32 | 10.32 | 1113.6312
Project Allowances
|  | Standard Ceiling Small Kit |  |  | 1 | each |  | 330 | 330 | 330
|  | Rubbish Bins |  |  | 1 | each |  | 1280 | 1280 | 1280
Fixings |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Second Fixing | 0 | 1485.244 | 68 | 1553.244 | 310.6488 | 1863.8928
| Doors & Door Handles | [9 empty] | 563.5 | [8 empty] | Fixings & Hardware - Supply | 1485.244
Select External Doors
|  | Glazed Solid Doors |  |  | 1 | each | 298 |  | 298 | 298
Select Internal Doors
|  | Internal Doors |  |  | 2 | each | 43.2 |  | 43.2 | 86.4
Select Doors Handles
|  | Entry Door Handle |  |  | 1 | each | 55.8 |  | 55.8 | 55.8
|  | Internal Levers |  |  | 2 | each | 27.9 |  | 27.9 | 55.8
|  | Deliveries |  |  | 1 | each | 67.5 |  | 67.5 | 67.5
| Door Frames | [9 empty] | 294.3
External Hardware
|  | External Single Door Frame |  |  | 1 | each | 99 |  | 99 | 99
Internal Doors & Sets
|  | Internal double door frame |  |  | 1 | each | 127.8 |  | 127.8 | 127.8
|  | Deliveries |  |  | 1 | each | 67.5 |  | 67.5 | 67.5
| Hardware Items | [9 empty] | 627.444
Hardware Items
|  | Door Seals |  |  | 1 | each | 26.1 |  | 26.1 | 26.1
|  | Skirting |  |  | 71.36 | lm | 5.4 |  | 5.4 | 385.344
|  | Hinges |  |  | 9 | each | 9 |  | 9 | 81
|  | Deliveries |  |  | 1 | each | 67.5 |  | 67.5 | 67.5
External Items
|  | Deliveries |  |  | 1 | each | 67.5 |  | 67.5 | 67.5
Carpentry |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Carpentry | 0 | 13381.5831 | 613 | 13994.5831 | 2798.9166 | 16793.4997
| Stud Framed Walls - Labour | [9 empty] | 4848.2708 | [8 empty] | Stud Framed Walls - Labour | 4848.2708
|  | Stud Walls Labour |  |  | 167.184 | m2 |  | 28.7742 | 28.7742 | 4810.5859
|  | LVL to Windows |  |  | 2.8 | lm |  | 13.4589 | 13.4589 | 37.6849
| Roof Carpenter - Labour | [9 empty] | 6730.7396 | [8 empty] | Roof Carpenter - Labour | 6730.7396
|  | Truss roof timbers |  |  | 175.989 | m2 |  | 32.3 | 32.3 | 5684.4447
|  | Structural LVL Beam |  |  | 97.175 | lm |  | 10.7671 | 10.7671 | 1046.2949
| Fixing Carpenter Labour | [9 empty] | 1802.5727 | [8 empty] | Fixing Carpenter Labour | 1802.5727
External Doors Labour
|  | External Solid Door |  |  | 1 | each |  | 251.26 | 251.26 | 251.26
|  | e/o hang feature entry doors |  |  | 1 | each |  | 191.25 | 191.25 | 191.25
Internal Doors Labour
|  | Internal door (hollow) |  |  | 2 | each |  | 92.82 | 92.82 | 185.64
Hardware Items - Labour
|  | Deadlock / Trilock |  |  | 1 | each |  | 155.9376 | 155.9376 | 155.9376
|  | Door Seals |  |  | 1 | each |  | 41.5834 | 41.5834 | 41.5834
|  | Skirting |  |  | 71.36 | lm |  | 6.683 | 6.683 | 476.9017
|  | Glue Allowances |  |  | 1 | allow |  | 250 | 250 | 250
External Items - Labour
|  | Glue Allowances |  |  | 1 | allow |  | 250 | 250 | 250
Plumbing Fixtures |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Plumbing Fixtures | 1 | 0 | 0 | 0 | 0 | 0 | Fixtures & Fittings | #REF!
Plumber |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Plumber | 0 | 1229.4282 | 57 | 1286.4282 | 257.2856 | 1543.7138 | Plumber | 1229.4282 | #REF!
| Plumber | [9 empty] | 1229.4282
Plumbing Standard Allowances
|  | Plumbing connections and site management up to 250m2 |  |  | 125.73 | m2 | 9.7783 |  | 9.7783 | 1229.4282
Electrical |  |  |  | 125.73 | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Electrical | 0 | 2752.5138 | 126 | 2878.5138 | 575.7028 | 3454.2166 | Electrical | 2752.5138 | #REF!
| Electrical Standard Allowances | [9 empty] | 1475.3138
|  | Electrcial connections and site management up to 250m2 |  |  | 125.73 | m2 | 11.734 |  | 11.734 | 1475.3138
| Power Points & Data | [9 empty] | 759.52
Power Points & Data - Supply
|  | Weatherproof Double Power Point |  |  | 4 | each | 58.68 |  | 58.68 | 234.72
Power Points & Data - Labour
|  | Weatherproof Double Power Point |  |  | 4 | each |  | 131.2 | 131.2 | 524.8
| Lighting - Supply | [9 empty] | 129.6 |  |  | 1
Internal
|  | Downlights |  |  | 8 | each | 16.2 |  | 16.2 | 129.6
| Lighting - Labour | [9 empty] | 388.08
Internal
|  | Downlights |  |  | 8 | each |  | 48.51 | 48.51 | 388.08
Tiling |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Tiling | 0 | 17914.8464 | 821 | 18735.8464 | 3747.1693 | 22483.0157
| Wet Area Tiling - Supply | [9 empty] | 2795.2932 | [8 empty] | Wet Area Tiling - Supply | 2795.2932
|  | Tiling Sundries |  |  | 60.478 | m2 | 6.62 |  | 6.62 | 400.3644
|  | Non Slip Floor Tiles |  |  | 60.478 | m2 | 39.6 |  | 39.6 | 2394.9288
| Wet Area Tiling - Labour | [9 empty] | 2763.6027 | [8 empty] | Wet Area Tiling - Labour | 2763.6027
Wet Area Tiling - Labour
|  | Tiling Sundries |  |  | 60.478 | m2 |  | 4.896 | 4.896 | 296.1003
|  | Non Slip Floor Tiles |  |  | 60.478 | m2 |  | 40.8 | 40.8 | 2467.5024
| Waterproofing | [9 empty] | 12355.9506 | [8 empty] | Waterproofing | 12355.9506
|  | Supply & Install Waterproofing to Walls |  |  | 157.44 | m2 | 56.7 |  | 56.7 | 8926.848
|  | Supply & Install Waterproofing to Outdoor Floor Tiles |  |  | 60.478 | m2 | 56.7 |  | 56.7 | 3429.1026
Cabinets |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Cabinets | 0 | 0 |  | 0 | 0 | 0 | Cabinets | 0
Floor Coverings |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Floor Coverings | 0 | 0 | 0 | 0 | 0 | 0 | Floor Coverings | 0
Painting |  |  | 0 |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Painting | 0 | 16382.9613 | 750 | 17132.9613 | 3426.5923 | 20559.5536 | Painting | 16382.9613
| New Home Works Painting | [9 empty] | 16382.9613
Internal
|  | Doors & Frames |  |  | 3 | each |  | 103.74 | 103.74 | 311.22
|  | Internal Walls |  |  | 224.83 | m2 |  | 9.2 | 9.2 | 2068.436
|  | Plasterboard Ceilings |  |  | 163.284 | m2 |  | 18.6732 | 18.6732 | 3049.0348
|  | Paint Skirting |  |  | 71.36 | lm |  | 7.371 | 7.371 | 525.9946
External Walls
|  | Render Single Block Wall |  |  | 157.44 | m2 |  | 62 | 62 | 9761.28
|  | Render Cavity Brick Walls |  |  | 10.758 | m2 |  | 62 | 62 | 666.996
External Items |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | External Items | 0 | 79702.9854 | 3649 | 83351.9854 | 16670.3971 | 100022.3824 | External Items | 79702.9854
| Automatic Doors & Gates | [9 empty] | 661.5
|  | Roller door |  |  | 1 | each | 661.5 |  | 661.5 | 661.5
| Supply & Install Paving | [9 empty] | 1794.524
Supply Material
|  | Supply - Sand |  |  | 17.52 | m2 | 13.5 |  | 13.5 | 236.52
|  | Supply - Brick Pavers |  |  | 14.6 | m2 | 52.5 |  | 52.5 | 766.5
|  | Delivery fee |  |  | 1 | each | 150 |  | 150 | 150
Labour Material
|  | Labour - Brick Pavers |  |  | 14.6 | m2 |  | 30.24 | 30.24 | 441.504
|  | Handling costs |  |  | 1 | each |  | 200 | 200 | 200
| Concrete Pools - including equipment & fencing | [9 empty] | 77246.9614
Pool & Structure
|  | Concrete Swimming Pool - Medium |  |  | 1 | allow | 77246.9614 |  | 77246.9614 | 77246.9614
Air-Conditioning & Heating |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Air-Conditioning & Heating | 0 | 0 |  | 0 | 0 | 0 | Air-Conditioning & Heating | 0
Internal item |  |  |  |  | Quantity | Unit | SupplyRate | Lbr Rate | T/Rate | Total | Comments |  | Internal Items | 0 | 0 | 0 | 0 | 0 | 0 | Internal item | 0
House Cleaning |  |  | 125.73 |  | Quantity | Unit | Supply Rate | Lbr Rate | T/Rate | Total | Comments |  | House Cleaning | 0 | 852.9778 | 40 | 892.9778 | 178.5956 | 1071.5733 | House Cleaning | 852.9778
Other
|  | Internal Floor Area |  |  | 125.73 | m2 |  | 3.3166 | 3.3166 | 416.9911
|  | Extenal Areas |  |  | 60.478 | m2 |  | 4.1457 | 4.1457 | 250.7236
|  | Window Glazing |  |  | 55.86 | m2 |  | 3.3166 | 3.3166 | 185.263
|  | Supervisions & Contingency |  |  | Quantity | Unit | Supply Rate | Lbr Rate | T/Rate | Total | Comments |  | Supervisions & Contingency |  | 16331 |  |  |  |  | Supervisions & Contingency | 16331
|  | Preliminaries |  | 0.021483 | 1 | each |  |  | 350.6086 | 351 |  | Preliminaries | 351
|  | Stormwater Disposal |  | 0.034575 | 1 | each |  |  | 564.2589 | 565 |  | Stormwater Disposal | 565
|  | Earthworks |  | 0.042927 | 1 | each |  |  | 700.5667 | 701 |  | Earthworks | 701
|  | Demolition |  | 0 | 1 | each |  |  | 0 | 0 |  | Demolition | 0
|  | Concrete Slab |  | 0.10981 | 1 | each |  |  | 1792.1119 | 1793 |  | Concrete Slab | 1793
|  | Timber Supply |  | 0.066309 | 1 | each |  |  | 1082.1633 | 1083 |  | Timber Supply | 1083
|  | Plasterer |  | 0.048808 | 1 | each |  |  | 796.5387 | 797 |  | Plasterer | 797
|  | Staircases & Balustrade |  | 0 | 1 | each |  |  | 0 | 0 |  | Staircases & Balustrade | 0
|  | Bricklayer |  | 0.027331 | 1 | each |  |  | 446.0371 | 447 |  | Bricklayer | 447
|  | Carpentry |  | 0.037533 | 1 | each |  |  | 612.5398 | 613 |  | Carpentry | 613
|  | Structural Walls |  | 0.030171 | 1 | each |  |  | 492.3926 | 493 |  | Structural Walls | 493
|  | Electrical |  | 0.0077203 | 1 | each |  |  | 125.9959 | 126 |  | Electrical | 126
|  | Structural Steel |  | 0.091242 | 1 | each |  |  | 1489.0629 | 1490 |  | Structural Steel | 1490
|  | Plumber |  | 0.0034483 | 1 | each |  |  | 56.2769 | 57 |  | Plumber | 57
|  | Windows & Glazing |  | 0.049982 | 1 | each |  |  | 815.7122 | 816 |  | Windows & Glazing | 816
|  | Roofing & Scaffolding |  | 0.10235 | 1 | each |  |  | 1670.3349 | 1671 |  | Roofing & Scaffolding | 1671
|  | Second Fixing |  | 0.0041659 | 1 | each |  |  | 67.9868 | 68 |  | Second Fixing | 68
|  | Plumbing Fixtures |  | 0 | 1 | each |  |  | 0 | 0 |  | Plumbing Fixtures | 0
|  | Tiling |  | 0.050248 | 1 | each |  |  | 820.0492 | 821 |  | Tiling | 821
|  | Floor Coverings |  | 0 | 1 | each |  |  | 0 | 0 |  | Floor Coverings | 0
|  | Painting |  | 0.045951 | 1 | each |  |  | 749.9274 | 750 |  | Painting | 750
|  | External Items |  | 0.22355 | 1 | each |  |  | 3648.3914 | 3649 |  | External Items | 3649
|  | Internal Items |  | 0 | 1 | each |  |  | 0 | 0 |  | Internal Items | 0
|  | House Cleaning |  | 0.0023925 | 1 | each |  |  | 39.0449 | 40 |  | House Cleaning | 40
[12 empty] | Overheads Totals | 16331
Supervisions & Contingency (this allowance is included in all lines above)
Staffing
|  | Site Manager |  |  | 20 | week | 450 |  | 450 | 9000
Project Contingency
|  | Estimating Contingency 2% allowance |  |  | 1 | allow | 7320 |  | 7320 | 7320
16320
[9 empty] | Construction Cost excl GST | 372858.7377
[9 empty] | Margin % | 20% | 0.2 |  |  |  | 1.2
[9 empty] | Profit excl GST | 74571.7475
[9 empty] | Construction Cost incl Profit | 447430.4852 | Excluding GST
[9 empty] | GST | 44743.0485
[9 empty] | Construction Building Cost incl GST | 492173.5337
|  | Supervision Formula by Blulevel | [7 empty] | 3558.6613 | Building m2 Rate (Client Rate)
|  | Preliminaries | 0.021483 | 7659.4177
|  | Stormwater Disposal | 0.034575 | 12326.8344
|  | Earthworks | 0.042927 | 15304.6233
|  | Demolition | 0 | 0
|  | Concrete Slab | 0.10981 | 39150.5875
|  | Timber Supply | 0.066309 | 23641.0064
|  | Staircases & Balustrade | 0 | 0
|  | Bricklayer | 0.027331 | 9744.1542
|  | Carpentry | 0.037533 | 13381.5831
|  | Structural Walls | 0.030171 | 10756.8394
|  | Plasterer | 0.048808 | 17401.2345
|  | Electrical | 0.0077203 | 2752.5138
|  | Structural Steel | 0.091242 | 32530.1609
|  | Plumber | 0.0034483 | 1229.4282
|  | Windows & Glazing | 0.049982 | 17820.1
|  | Roofing & Scaffolding | 0.10235 | 36490.2394
|  | Second Fixing | 0.0041659 | 1485.244
|  | Plumbing Fixtures | 0 | 0
|  | Tiling | 0.050248 | 17914.8464
|  | Floor Coverings | 0 | 0
|  | Painting | 0.045951 | 16382.9613
|  | External Items | 0.22355 | 79702.9854
|  | Internal Items | 0 | 0
|  | House Cleaning | 0.0023925 | 852.9778
356527.7377
-16320
Notes: Our estimates are produced by a highly informed and well educated team that is grounded by real experience. However, due to differing
methods in construction, amomalies will occur and it is the client's responsibility to ensure that the quantities produced are correct and
conform to the adopted build method prior to the release of the data supplied. We disclaim any liability for loss or damage
arising from errors or omissions in the information provided. Any items not included in the estimation above are excluded from the construction price.
Material Construction rates are supplied by suppliers and distributors across Australia, these rates have been supplied by form of web search, online
product search or form of a material price list. All of our labour construction rates are calculated based on hourly rate multiplied by duration of task. Purchasing
the additional reporting you will have the function to adjust hourly rates and task durations.
Margin Guideline
|  | $0 - $100k | Range between 25% - 50%
|  | $100k - $250k | Range between 25% - 35%
|  | $250k - $400k | Range between 20% - 30%
|  | $400k - $750k | Range between 18% - 25%
|  | $750k - $1m | Range between 15% - 20%
|  | $1m - $1.5m | Range between 12% - 20%
|  | $1.5m - $2.0m | Range between 10% - 20%
|  | $2.0m + | Range between 10% - 20%

## Standard Client Breakdown+
Client : | Project Building and Carpentry |  | Date : | 2024-11-07
Contact : | Bryce Clarke |  | Mobile :
Email : | bryce@project-bc.com |  | Reference :
Project : | 19 Burradoo Road, Bowral
Description - All cost exclude GST |  |  |  | Total Excl GST
447430.4852
Building Cost Breakdown
| Site Construction | 34676.9493
· | Earthworks |  | PS | 19206.748 | 4.293%
· | Stormwater Disposal |  |  | 15470.2013 | 3.458%
| Construction Items | 312731.1535
· | Preliminaries |  |  | 9612.5013 | 2.148%
· | Concrete Slab |  |  | 49132.305 | 10.98%
· | Timber Supply |  |  | 29668.8077 | 6.631%
· | Structural Walls |  |  | 13499.8072 | 3.017%
· | Structural Steel |  |  | 40824.1931 | 9.124%
· | Electrical |  |  | 3454.2166 | 0.772%
· | Bricklayer |  |  | 12229.385 | 2.733%
· | Carpentry |  |  | 16793.4997 | 3.753%
· | Plumber |  |  | 1543.7138 | 0.345%
· | Windows & Glazing |  | PS | 22363.32 | 4.998%
· | Roofing & Scaffolding |  |  | 45793.4873 | 10.23%
· | Plasterer |  |  | 21837.8814 | 4.881%
· | Second Fixing |  |  | 1863.8928 | 0.4166%
· | Tiling |  | PS | 22483.0157 | 5.025%
· | Painting |  |  | 20559.5536 | 4.595%
· | House Cleaning |  |  | 1071.5733 | 0.2395%
| Finishing Items |  | 100022.3824
· | External Items |  |  | 100022.3824 | 22.35%
Construction Totals
| 0 |  | Total Amount Excluding GST | 447430.4852
|  |  | Total Amount of GST | 44743.0485
|  |  | Total Amount including GST | 492173.5337

## NEW - Client Summary
Client : | Project Building and Carpentry |  |  | Date : | 2024-11-07
Contact : | Bryce Clarke |  |  | Mobile :
Email : | bryce@project-bc.com |  |  | Reference :
Project : | 19 Burradoo Road, Bowral
Construction Costs included as per contract - All cost exclude GST |  |  |  |  | Total Excl GST
412753.5359
| Site Construction |  |  |  | 34676.9493
· | Earthworks | · | Stormwater Disposal
· | Demolition
| Construction Items |  |  |  | 312731.1535
· | Preliminaries | · | Windows & Glazing
· | Concrete Slab | · | Roofing & Scaffolding
· | Timber Supply | · | Plasterer
· | Structural Walls | · | Second Fixing
· | Structural Steel | · | Cabinets
· | Staircases & Balustrade | · | Plumbing Fixtures
· | Electrical | · | Tiling
· | Bricklayer | · | Painting
· | Carpentry | · | House Cleaning
· | Plumber
| Finishing Items |  |  |  | 100022.3824
· | External Items | · | Air-Conditioning & Heating
· | Internal Items | · | Floor Coverings
Remove items from contract - All cost exclude GST |  |  |  |  | -98618.1243
· | Remove insulation to internal walls |  |  |  | -159.8098
· | Owner to supply Wall & Floor Tiles to Wet Rooms during construction |  |  |  | -2795.2932
· | Owner to supply Downlights during construction |  |  |  | -129.6
· | Remove Supply & Install of Internal Wall Painting by owner after handover |  |  |  | -2068.436
· | Owner to supply all Doors & Hardware |  |  |  | -563.5
· | Remove Skylights, by owner after handover |  |  |  | -13860
· | Remove Supply & Install Paving, by owner after handover |  |  |  | -1794.524
· | Remove Supply & Install Swimming Pool, by owner after during Construction |  |  |  | -77246.9614
Remove items from contract - All cost exclude GST
| 447430.4852 |  |  | Total Amount Excluding GST | 447430.4852
| 0 |  |  | Remove all items from contract | -98618.1243
|  |  |  | Revised Contact Amount Excluding GST | 348812.3609
|  |  |  | Total Amount of GST | 34881.2361
|  |  |  | Total Amount including GST | 383693.597

## Standard Builder Breakdown+
Client : |  | Project Building and Carpentry | Date :
Contact : |  | Bryce Clarke | Mobile :
Email : |  | bryce@project-bc.com | Reference :
Project : |  | 19 Burradoo Road, Bowral
Description - Builder cost only. Excludes Margin, GST
Start
|  | Preliminaries |  | 7659.4177
|  | Supervisions & Contingency |  | 16331
Major Trades
|  | Earthworks |  | 15304.6233
|  | Windows & Glazing |  | 17820.1
|  | Plumber |  | 1229.4282
|  | Stormwater Disposal |  | 12326.8344 | #REF!
|  | Electrical |  | 2752.5138
|  | Painting |  | 16382.9613
Demolition : Construction allowance $
Concrete Works - Ground
|  | Concrete (Ground) - Supply |  | 23771.6023
|  | Concrete (Ground) - Labour |  | 13788.9852
Concrete Pump All-in
|  | Concrete Pump |  | 1590
Timber Supply
|  | Stud Framed Walls - Supply |  | 9218.7371
|  | Roof Framing - Supply |  | 14422.2693
Structural Steel
|  | Structural Beams Roof - Supply |  | 16154.2636
|  | Structural Beams Roof - Labour |  | 16375.8973 | Electrican : Construction allowance $
Roofing & Scaffold
|  | Roof Cover |  | 15901.864 | #REF!
|  | Roof Plumbing |  | 6728.3753
|  | Skylights |  | 13860
Sturctural Walls
|  | Cavity Brickwork - Ext - Supply |  | 1493.7689
|  | Single Leaf Concrete Blocks - Ext - Supply |  | 9263.0704
Brickwork
|  | Concrete Blocks / Render - Ext - Labour |  | 8572.608
|  | Cavity Brickwork - Ext - Labour |  | 1171.5462
Carpentry
|  | Fixing Carpenter Labour |  | 1802.5727
Frame out
|  | Stud Framed Walls - Labour |  | 4848.2708
|  | Roof Carpenter - Labour |  | 6730.7396
Plasterboard
|  | Plasterboard Walls |  | 7495.2794
|  | Plasterboard Ceilings |  | 9905.9551
Second Fix Items
|  | Fixings & Hardware - Supply |  | 1485.244
|  | Waterproofing |  | 12355.9506
Tiling
|  | Wet Area Tiling - Supply |  | 2795.2932
|  | Wet Area Tiling - Labour |  | 2763.6027
Other Items
|  | House Cleaning |  | 852.9778
|  | External Items |  | 79702.9854
|  | Internal item |  | 0
Construction Cost Total
|  | 0 | Construction Cost Total Excluding GST | 372858.7377

## Terms Conditions
Terms and conditions
Blulevel Estimating Pty Ltd ACN 617 435 079 (Blulevel) will provide the Services to You on the terms and conditions set out below.
The parties agree as follows:
1 Interpretation
In this document, unless the context requires otherwise:
a. Contract means the contract for the supply of Services by Blulevel to You, constituted by these Terms and the Quote.
b. Estimation means the construction estimation report prepared by Blulevel as a part of the Services;
c. Fees means the amounts payable by You to Blulevel for the Services, including all fees, disbursements and GST as set out in the Quote. Fees highlighted within this quotation exclude GST
d. GST has the same meaning in the A New Tax System (Goods and Services Tax) Act 1999 (Cth);
e. Invoice mean an invoice rendered by Blulevel to You under clause 5;
f. Loss includes, but is not limited to, direct, indirect, punitive, incidental, special, consequential damages or any damages whatsoever, costs (including party to party legal costs), expenses, lost profits or revenue, lost data, personal injury and property damage;
g. Quote means a written quotation issued by Blulevel to You for the supply of Services to You;
h. Services means the estimation of quantities of materials and costs in the building and construction described in the Quote, including any other product and service inclusions specified in the Quote and excluding any product and service
exclusions specified in the Quote;
i. Terms means this document entitled “Terms and conditions”;
j. You means the person requesting Blulevel to supply the Services the subject of these Terms;
k. a reference to a person includes:
i. a partnership, joint venture, unincorporated
association, corporation and a government or statutory body or authority; and
ii. The person’s executors, administrators, legal personal representatives, successors, assigns and persons substituted by novation;
l. a reference to the parties is a reference to Blulevel and You; and
m. if You are a trustee, the Contract binds You both personally and in Your capacity as a trustee.
2 Contract formation
a. The Quote will be valid for 30 days and upon expiry, shall not be capable of acceptance, unless otherwise agreed by the parties.
b. You shall be deemed to have accepted the Quote and to have entered into a Contract when:
i. You advise Blulevel that You accept the Quote, whether in writing or otherwise;
ii. You instruct Blulevel to proceed to supply the Services even if You have not expressly accepted the Quote; or
iii. You pay the Fees.
c. You must pay the Fees to Blulevel in advance of Blulevel providing the Services. To avoid doubt, Blulevel does not have to commence work until the Fees have been
Blulevel Estimating Pty Ltd - Terms and Conditions
received by Blulevel in cleared funds.
3 Timeframe for providing Services
Blulevel will use reasonable endeavours to provide the Services within:
a. 3 to 8 business days; or
b. if, in the opinion of Blulevel, the Services are complex, 5 to 12 business days,
from when You pay the Fees.
4 Additional Services
a. You may at any time request additional Services to be supplied which exceed the scope of the Quote (Additional Services).
b. If You request Additional Services, Blulevel may issue You with a new quote for the Additional Services and You agree that these Terms are incorporated into any such new quote without the need for Blulevel to provide them to You again.
5 Invoice and payment
a. Blulevel may render Invoices to You at any time for Services supplied by Blulevel to You.
b. You must pay in full the unpaid amounts in any Invoice within 7 days of the Invoice issue date, unless otherwise agreed in writing. Time is of the essence and estimating will commence after payment.
c. The Fees and all other amounts payable by You to Blulevel are exclusive of GST unless expressed otherwise in the Quote or Invoice.
6 Acknowledgements
You acknowledge and agree that:
a. unless otherwise expressly agreed, the Estimation will be based on non-conforming products and materials and may, for example, be based on industry average
prices for specified products and materials;
b. if You require Blulevel to review any Estimation, provide responses in relation to questions regarding the Estimation, obtain and provide any conforming quotations and/or provide any other Additional Services then additional costs will apply;
c. while Blulevel’s Estimations are provided by experienced estimators, due to the nature of construction and, in particular, differing methods of construction, there is always an inherent risk of inaccuracy. It is therefore Your responsibility to ensure that all details in the Estimation, including quantity and cost estimates, are acceptable to You before use, and that the Estimation should not be the only source of information on which You rely;
d. the Estimation must not be used for any purpose other than for the project to which the Services relate to; and
e. the Estimation is confidential and remains the intellectual property of Blulevel.
7 Termination
a. Blulevel may at its absolute discretion terminate the Contract at any time by giving You notice in writing (Termination Notice).
b. Upon receipt of the Termination Notice, You must immediately pay all amounts outstanding and payable by You to Blulevel pursuant to the Contract.
c. If Blulevel terminates the Contract pursuant to clause 7a prior to the supply of any Services, then it will refund any Fees relating to those Services to You.
8 Limitation of liability
a. All Estimations are produced by experienced estimators and are provided to You in good faith and are believed to be accurate, appropriate and reliable at the time they are given, however, Blulevel gives no warranty in relation to the Services
provided and You expressly agree that use of the Services is at Your own risk.
b. To the extent permitted by law:
i. all terms, guarantees, warranties, representations or conditions which are not expressly set out in this Contract are excluded; and
ii. Blulevel is not liable or responsible in any way to You or any other person for any Loss suffered as a result of any error, omission, deficiency, discrepancy or issue with the Services.
c. Where by law Blulevel is not able to exclude terms,
guarantees,warranties, representations or conditions but is able to limit its liability, then to the extent permissible by law, Blulevel limits its liability for any breach, to supplying the Services again or, at Blulevel’s option, refunding the Fees to You.
d. You acknowledge that the Services are not for personal, domestic or household purposes. If however, the Australian Consumer Law (ACL) does apply to the Contract, then these Terms only exclude the ACL guarantees that can be excluded under the ACL and where Blulevel’s liability can be limited under the ACL, Blulevel’s liability is limited to the supply of the Services again or the cost of re-supplying the Services.
9 Indemnity
a. You indemnify and keep indemnified Blulevel and its servants and agents in respect of any claim or demand made or action commenced by any person (including, but not limited to You) against Blulevel in connection with any Loss arising from or incidental to the provision of Services, any Quote or Contract.
b. You indemnify Blulevel against all costs and expenses incurred by Blulevel as a result of Your failure to perform Your obligations under the Contract, including enforcement
costs and party to party legal costs.
c. This clause 9 remains in force after the termination of the Contract.
10 Warranties
You warrant that:
a. You have obtained all necessary third party consents to the supply of the Services by Blulevel to You, including consents to the use of intellectual property held by third parties; and
b. all information provided by You, including any quantities and costs are correct and accurate, and conform to all requirements under the National Construction Code published by the Australian Building Codes Board, as revised from time to time, and all other applicable legislation.
11 Privacy
a. In the course of dealing with You, Blulevel will collect personal information from You.
b. You agree to allow Blulevel to collect and use the personal information collected from You for the purpose of supplying the Services to You, marketing and providing other goods and services to You and otherwise in accordance with any privacy policy that Blulevel may provide to You.
c. You agree to Blulevel disclosing Your personal information to other organisations in order to facilitate supply of the Services to You.
12 General
a. If any part of the Contract is or becomes void or unenforceable, that part is or will be severed from the Contract to the intent that all parts that are not or do not become void or unenforceable remain in full force and effect and are unaffected by that severance.
a. These Terms can only be varied by written
agreement of the parties.
b. Any notice or Invoice that Blulevel may give or issue to You pursuant to these Terms will be deemed to be validly given or issued if posted, faxed or emailed to You at Your contact details set out in the Quote.
c. Blulevel is not liable to You for any default or delay in the supply of the Services to You due to circumstances beyond Blulevel’s control including, but not limited to, the unavailability of materials or components, strikes, lockouts, riots, natural disasters, fire, war, acts of God, government decrees, proclamations or orders and failures or malfunctions of computers or other information technology systems.
d. The Contract shall be governed by the law of Victoria and the parties consent to the non-exclusive jurisdiction of the Courts of Victoria.

## 
q | q
w | w
e | e
r | r
t | t
y | y
u | u
i | i
o | o
p | p
a | a
s | s
d | d
f | f
g | g
h | h
j | j
k | k
l | l
z | z
x | x
c | c
v | v
b | b
n | n
m | m
1 | 1
2 | 2
3 | 3
4 | 4
5 | 5
6 | 6
7 | 7
8 | 8
9 | 9
0 | 0
- | -
= | =
[ | [
] | ]
\ | \
; | ;
. | .
, | ,